## Slide 1: City of Franklin Department of Building and Neighborhood Services
Transitioning from Private Sewage Disposal to Public Sanitary Sewer
September 30, 2010

## Slide 2: Overview
Upon completion of the system and final acceptance, a letter will be issued from the County allowing connections to begin
Connecting to the public sanitary sewer with a grinder pump
The permit/inspection process
Abandonment of the septic system

## Slide 3: Connecting to the Public Sanitary Sewer
Fill out application and sewer service agreement from the Water Management Department at Utility Billing and pay fees
Obtain Plumbing permit from Building and Neighborhood Services Dept.
Obtain Electrical permit from nearest State of TN Electrical Inspection office (Wmson. Cty. Codes office)
Licensed electrician installs a disconnect box/pump controls according to specifications and applicable codes
Licensed plumber (has a master plumber’s license from either the State or Metro, registered with Franklin) installs the grinder pump and connects the sewer lines from the house to the pump and from the pump to the tap at the street according to the specifications and applicable codes
Call for Plumbing inspections from BNS before covering the piping and pump enclosure

## Slide 4: Permits Required
Water Management Department
  Fill out application/service agreement and pay connection fees
Building and Neighborhood Services
  Fill out permit application for Plumbing permit and pay fees ($37 currently)
  Bring a plot plan with the location of the pump and the layout of the plot (hand drawing OK)

## Slide 5: Connection Fee Breakdown
The connection fees are $4,282 at this time (subject to modification through approval by Board of Mayor and Alderman)
  Access-$2,100
  SDF-$1,444
  Installation w/tap made-$263
  EDF-$450
  Application-$25
This has to be paid in full prior to issuance of the Plumbing permit at BNS

## Slide 6: City Hall
Located at 109 3rd Ave. S
  Water Management Dept. Utility Billing is in Suite 141
    Phone 794-4572
  Dept. of BNS is in Suite 110
    Phone 794-7012
  Open 8:00 am – 5:00 pm
Website is www.franklintn.gov

## Slide 7: BNS Inspections
When the trades have completed installation, before the sewer lines/pump are covered, call for Sewer Line inspection at 591-5603 using the Plumbing and permit number.
Installation will be inspected to International Residential Code 2009, the grinder pump manufacturer’s instructions, and the Franklin grinder pump installation specifications.
When inspections are complete, the sewer lines/pump may be covered with clean fill dirt and the system may be used

## Slide 8: City of Franklin Requirements
Franklin Municipal Code Title 18 – Section 5 Residential Grinder Pump Systems details installation requirements
  EOne Systems DH-071 grinder pump required

## Slide 9: Final Steps
Once the plumbing and electrical inspections are passed, the septic tank should be abandoned.
Notify the Williamson County septic tank inspector that the tank has been abandoned.

## Slide 10: Williamson County Sewage Disposal Department
Located at 1320 W. Main St. in Franklin, TN
Phone (615) 790-5751
Website is www.williamsoncounty-tn.gov
  Look for Sewage Disposal Department
  Regulations are available online – see section 32
Technical Assistance permit

## Slide 11: Abandonment of the Septic System
Obtain a ‘Technical Assistance’ permit from Williamson County prior to installing the grinder pump
Have the septic tank pumped by a State licensed septic hauler
Either crush the tank or remove it (coordinate with the County Inspector)
Backfill the hole with gravel and cover the gravel with 12 inches of topsoil

## Slide 12: Contacts
Codes or installation questions-
  Chris Bridgewater 550-6633 or chris.bridgewater@franklintn.gov
Financial/payment arrangement questions for City fees-
  Steve Sims 550-6704 or steves@franklintn.gov
Septic system questions (County)-
  Bart Skelton 790-5751 or barts@williamson-tn.org